- EAST LYME PUBLIC SCHOOLS

- BUSINESS OFFICE

- PROPOSAL FOR:

- EL 2010-008

- East Lyme Public Schools

- HVAC Full Labor Maintenance Program & Service Contract for Automation & Temperature Controls

- Bid Opening: 08/12/2010 @ 10:00AM

- Sealed proposal for furnishing and delivering East Lyme Public Schools: HVAC Full Labor

Maintenance Program & Service Contract for Automation & Temperature Controls  will be received at the:

Business Office

165 Boston Post Road

East Lyme, CT 06333

- until  Thursday, 08/12/2010 – 10:00AM.

Specifications and proposal forms may be obtained at the Business Office.  Proposals shall be submitted in sealed envelopes, and marked on the outside:

- Bid #EL 2010-008 East Lyme Public Schools HVAC Full Labor

Maintenance Program & Service Contract for Automation & Temperature Controls

- – 08/12/2010 – 10:00AM

Any request for further information shall be directed to:

Don Meltabarger, Business Manager

East Lyme Public School District

165 Boston Post Road

East Lyme, CT 06333

(860) 739-3966

The School District reserves the right to accept or reject any or all proposals and to waive any informalities if deemed to be in the best interest of the School District.

The School District is an equal opportunity employer.

- East Lyme Public Schools

- Business Office

- Invitation to Bid No. EL 2010-008

- Sealed bids addressed to the Business Manager for:  East Lyme Public Schools HVAC Full Labor

Maintenance Program & Service Contract for Automation & Temperature Controls  will be received at the East Lyme Public Schools – Central Office, P.O. Box 176., East Lyme, CT 06333-0176, until 10:00 a.m. on Thursday, August 12, 2010 at which time they will be publicly opened and read aloud.

- Specifications, as listed herein.

Bids to be plainly marked in the lower left-hand corner of the envelope as follows:

- Bid Number #EL 2010-008 East Lyme Public Schools HVAC Full Labor Maintenance Program & Service Contract for Automation & Temperature Controls – 08/12/2010 – 10:00AM

Bidders shall not include Federal or State taxes for which Public Schools are exempt.  ALL PRICES ARE FOB TO East Lyme, CT.   Rate and Price quoted is actual rate.

- East Lyme reserves the right to approve, accept or reject any or all proposals in whole or in part.

The East Lyme Public Schools reserves the right to waive any formalities in Bids; to reject any or all Bids, or to accept the ones that in its judgment will be in the best interest of the East Lyme Public Schools and/or the Town of East Lyme, CT.  The East Lyme Public Schools reserves the right to determine equivalency of all bids.

- The East Lyme Public Schools does not discriminate on the basis of sex, race, religion or national origin.

- GENERAL INSTRUCTIONS TO BIDDERS

These instructions are standard for all proposals issued by the East Lyme Public Schools, East Lyme, CT, where a vendor is to furnish labor, materials and/or necessary equipment to complete a Bid as outlined in our detailed specifications.  The East Lyme Public Schools may delete, supersede or modify any of these standard instructions for a particular proposal.

1.0	The attached proposal is signed by the bidder with full knowledge of and agreement with the general specifications, conditions and requirements of this Bid.

1.1	Submit proposal in an envelope marked with the bidder’s name and address on the upper left-hand corner.  Proposal shall be made out in the exact form of enclosed proposal form on bidder’s letterhead and shall be signed by an officer of the company/corporation.  Bids are to be plainly marked in the lower left-hand corner, Bid number, name of Bid, opening date and time.

1.2	Bids received later than the date and time specified will not be considered.  Amendments to or withdrawals of Bids received later than the date and time for Bid opening will not be considered.

1.3	All deliveries of commodities hereunder shall comply in every respect with all applicable laws of the Federal Government and/or the State of Connecticut.  Purchases made by the East Lyme Public Schools are exempt from the payment of Federal Excise Taxes and the State of Connecticut Sales Tax and such taxes must not be included in Bid prices.  All prices are FOB to East Lyme, CT.

1.4	The East Lyme Public Schools reserves the right to reject any and all Bids, to waive technical defects and to make such awards, including accepting a Bid, although not the low Bid, as it is deemed to be in the best interests of the East Lyme Public Schools.

1.5	The East Lyme Public Schools may withhold acceptance of work and payment, thereof, when it is determined that said work or materials do not meet the specified requirements.  Payment will not be made until corrections are made which are acceptable to the East Lyme Public Schools officials and/or their authorized agent.

1.6	The East Lyme Public Schools may make such investigation as deemed necessary to determine the ability of the bidder to discharge his contract.  The bidder shall furnish the East Lyme Public Schools with all such information and data as may be required for that purpose.  The east Lyme Public Schools reserves the right to reject any Bid if the bidder fails to satisfactorily convince the East Lyme Public Schools that he/she is properly qualified by experience and/or does have the facilities to carry out the work called for herein.  Conditional Bids will not be accepted.

1.7  	Specifications cannot be relieved by anyone other than the assigned agent for the East Lyme Public Schools.

1.8	All work done under this Bid must comply with all State and Town Codes and licensed tradesmen will be used where applicable.

  - Payments for labor and materials will only be made upon installation.  No payments will be

made for material stored on the site.

- This agreement provides that the contract may be renewed by mutual agreement for two (2) additional one

(1) year school terms.

- GUARANTEE

The contractor shall and does hereby, as part of the contract, guarantee all materials and workmanship to be of first quality and that the finished work will remain in satisfactory condition with a lifetime warranty from the final acceptance of work performed or as specified in the Bid.  The date of acceptance is considered to be the date of the final payment for the work involved.

EAST LYME PUBLIC SCHOOLS

165 Boston Post Road

P.O. Box 176

East Lyme, CT 333

TO:	 All Vendors

- FROM:	 Don Meltabarger, Business Manager

RE:	 Affirmative Action

The East Lyme Public Schools is an Equal Opportunity Employer.  The Board of Education has made it a matter of policy that it will not transact business with firms which are not in compliance with all Federal and State Statutes and Executive Orders pertaining to non-discrimination.

- A copy of the Board of Education Affirmative Action Statement is printed on the bottom of this letter.

In order to have your firm listed on our acceptable vendor’s list and thereby be eligible for consideration as a source for goods and services, please complete and return the following Statement of Policy to us.

- STATEMENT OF POLICY

It is the employment policy of _________________________________ that there shall be no discrimination against anyone on the grounds of race, creed, national origin, sex or age in the hiring, upgrading, demotions, recruitment, termination and selections for training.

In addition, this firm is in full compliance with the letter and intent of the various Equal Employment Opportunities and Civil Rights Statutes noted above.

________________________________   ______________________________________________

Date				      Signed (Name/Title of Company Officer)

________________________________   ______________________________________________

Telephone			                         Street Address

______________________________________________

- City/State

- BID SHEET (Bidder to retype on their  company letterhead)

TO:	Don Meltabarger, Business Manager

East Lyme Public Schools

P.O. Box 176

165 Boston Post Road

East Lyme, CT  06333

_________________________________________

- Name of Bidder

_________________________________________

- Street Address

_________________________________________

- City/State

_________________________________________

- Telephone

Please provide the quotes separately for the two services being requested:

Full Labor Maintenance Program for the HVAC systems at East Lyme High School, East Lyme Middle School, Flanders Elementary School, Niantic Elementary School, Lillie B Haynes Elementary School, and Central Office – for the period July1, 2010 thru June 30, 2013.

Full Service Controls Maintenance Program for East Lyme High School for August 1, 2010 to July 31, 2013.

Unit Price as per specifications	            $ ______________

Extended Price as per specifications            $ ______________

___________________________________		________________________________(Seal)

Witness

___________________________________	By:	________________________________ (Seal)

- Partnership

________________________________ (Seal)

________________________________ (Seal)

When Bidder is a Corporation:

_________________________________

- Corporation Name

_________________________________

- President

Attest:

_________________________________

- Secretary

(Corporate Seal)

- The ______________________________________ is a Corporation organized and existing under the laws of

__________________________________________ and has (has not) been granted a Certificate of Authority to do

business in the State of Connecticut.

REFERENCE CHECK

In the interest of securing competent contractors we are requiring the following information be provided with your Bid.

- Failure to provide this information may jeopardize your firm being awarded this project.

Please provide three references:

__________________________________________________

- Company Name

__________________________________________________

- Contact Person

__________________________________________________

- Telephone Number

__________________________________________________

- Date Job Completed

__________________________________________________

- Company Name

__________________________________________________

- Contact Person

__________________________________________________

- Telephone Number

__________________________________________________

- Date Job Completed

__________________________________________________

- Company Name

__________________________________________________

- Contact Person

__________________________________________________

- Telephone Number

__________________________________________________

- Date Job Completed

- EAST LYME PUBLIC SCHOOLS

165 Boston Post Road

P.O. Box 176

East Lyme, CT 333

If you are not bidding at this time, would you please take a moment and fill out the information requested below:

- Name of Vendor _____________________________________________________

- Bid No. _________________________

- Name of Bid ________________________________________________________

Reason for Not Bidding:                                                                      Please Check One (   )

1.	I do not wish to participate at this time				_______

Reason:

2.	Heavy work schedule at the present time.			_______

3.	Do not do this type of work.					_______

4.	Do not carry particular type of product or service requested.	_______

5.	Other: _________________________________________

__________________________________________

__________________________________________

- EAST LYME PUBLIC SCHOOLS

SPECIFICATIONS

- BID NUMBER: 2010-008 HVAC Full Labor Maintenance Program

- & Service Contract for Automation & Temperature Controls

Service Contract for Automation & Temperature Controls
General Requirements:

- Site visit mandatory to participate in bid process

- Performance Bond is required prior to start date of work

- The successful bidder must be factory authorized and or licensed to service TAC/Barber Coleman. Proof must be submitted to the Board of Education before award will be made.

- Contractor must be licensed in the State of Connecticut. Proof must be
submitted with bid.

- Contractor is responsible for appropriate and legal disposal of all obsolete or
damaged equipment replaced by them under this contract.

- Temperature Control

- A preventative maintenance and repair program designed to maintain all listed
equipment per attached list.

- Replacement of all failed or defective equipment will be included in contract.

- Automatic damper and valve maintenance will also be included in the contract.

- Components damaged due to vandalism will not be considered the responsibility
of the contractor.

- Emergency service will be provided under this agreement. 24/7 and all holidays
are to be included. All situations are to be assessed and information provided to
the Facility Director. Response time will be 1 (one) hour for emergency calls
and 4 (four) hours or less for non emergency calls.

- Automation System Maintenance

- Hardware - Contractor will perform scheduled maintenance services on
equipment covered under this agreement as listed.

- Contractor will repair or replace serviceable components and parts found in the
equipment listing and software which are found to be defective or have failed.

- Replaced components will be new or reconditioned and will be of compatible
design as required to maintain the system's integrity.

- Marginal components that need replacing or repairing are up to the discretion of
the contractor.

- Contractor will provide written documentation of the ability to provide proper
support and maintenance of the existing Barber Coleman System, located at the
high school only, is the Network 8000 Invensys IA series. The written
documentation will include providing software patches, revision, and bug fixes.

- Emergency Service

•    Emergency service will be provided under this agreement.   24/7 and all holidays are to be included. All situations will be assessed and information will be provided to the Facility Director. Response time will be 1 (one) hour for emergency calls and (4) four hours or less for non-emergency calls.

MAINTENANCE SERVICES AGREEMENT

(East Lyme High School)

Quantity	Equipment		Manufacturer		Designation

1		UNC			TAC			Universal Network Controller

12		MZII			TAC			Microzone II Controller

5		PEM-1		TAC			Packaged Equipment Module

77		MFII			TAC			Microflo II Controller

All DDC sensors and devices furnished and installed by SNE Building Systems, Inc. to control:

Boilers l, 2 and 3 Pumps Pi, 2,3,4 and 5 Chiller CH-i Cooling Tower Pumps CHWP-A&B Pumps CWP-A&B

- AHU-i (Area "E" Classrooms 1st & 2nd Floors)

- AHU-2 (Area "E" Media and Support Offices 2nd Floor)

- AHU-3 (Area "E" 2*d Floor)

- AHU-4 (Area "E" 1st Floor Cafe/Commons)

- AHU-15 (Area "A" Pool Lockers 1st Floor)

- AHU-16 (Area "A" Pool Dehumidifier)

RTU-10 (Area "E" Network Room E2212nd Floor) RTU-11 (Area "E" Network Room E2212nd Floor) RTU-12 (Area "E" Guidance Area West 2nd Floor) RTU-13 (Area "E" Guidance/Admin East 1st & 2nd Floor) RTU-15 (Area "D" Science Classrooms ist & 2nd Floor) RTU-16 (Area "D" Commons) RTU-17 (Area "D" Science Classrooms 1st & 2nd Floor)

29 Kripes Road • P.O. Box 575 • East Granby, CT 06026 -Tel.# (860) 653-5095 »Fax# (860) 653-5328
CT #: S-l 395976	www.SNEBuiIdingSystems.com	CT #: E-l 186115

MAINTENANCE SERVICES AGREEMENT (East Lyme High School)

- Schedule of Equipment (continued)

Quantity	Equipment		Manufacturer		Designation

2		UNC			TAC			Universal Network Controller

17		MNL-800		TAC			I/A Series Controller

20		MNL-200		TAC			I/A Series Controller

38		MNL-V2		TAC			I/A Series VAV Controller

- All DDC sensors and devices furnished and installed by SNE Building Systems, Inc. to control:

- Chiller, Pumps & Tower

- AHU-i (Tech Ed CAD Room F116)

- AHU-2 (Tech Ed CMT F119)

- AHU-3 (Area "D" Band & Orchestra Room G113, Choral & Classroom G123)

- AHU-6 (North Gym - West)

- AHU-7 (North Gym - East)

- AHU-8 (Lockers-West)

- AHU-9 (Lockers - East)

- AHU-13 (Auditorium)

RTU-i (Area "B" 1st Floor Business/Tech) RTU-2 (Area "B" & "D" East 2nd Floor Classrooms) RTU-3 (Area "B" North 2nd Floor Classrooms) RTU-4 (Area "B" West 2nd Floor Classrooms) RTU-5 (Planetarium) RTU-6 (Area "G" & "H" i<* Floor Lockers) RTU-7 (Area "J" Nautilus) RTU-8 (Area "J" 1st Floor Gym) RTU-9 (Area "J" 1st Floor Gym)

29 Kripes Road • P.O. Box 575 • East Granby, CT 06026 »Tel.# (860) 653-5095 «Fax# (860) 653-5328
CT #: S-l 395976	www.SNEBuiIdingSystems.com	CT #: E-l 186115

-6-

MAINTENANCE SERVICES AGREEMENT (East Lyme High School)

- Facility Management Services

- NETWORK 8000 MICROZONE, PEM and MNL Controls

| Service Procedure | Function | Benefit | Recommended Frequency |
| --- | --- | --- | --- |
| Check Sequence of Mechanical Operation | Verify that controlled equipment properly cycles from full heat to full cool. | Ensures that system operates as designed to provide proper occupant comfort. | Semi-Annually Heating in Fall Cooling in Spring |
| Check Zone Occupancy Override Operation | Verify that controlled systems switch from unoccupied to occupied modes. | Ensures after-hours comfort of occupants. Verifies proper input to after-hours bilhng programs. Maximizes energy efficiency of systems by employing scheduled control operations. | Annually |
| Check Economizer Cycle Operation | Verify that economizer modulates to maintain mixed air setpoint. Verify that enthalpy changeover function operates per design. Verify that modulating low limit function operates as designed. | Maximizes energy savings by using free cooling whenever possible. Maintains system-operating efficiency. Extends compressor life by utilization of free cooling. Minimizes potential of coil failure by ensuring operation of low limit devices. | Semi-Annually |

29 Kripes Road • P.O. Box 575 • East Granby, CT 06026 »TeI.# (860) 653-5095 -Fax# (860) 653-5328
CT #: S-l 395976	www.SNEBuiIdingSystems.com	CT #: E-l 186115

- MAINTENANCES SERVICES AGREEMENT

(East Lyme High School)

- Facility Management Services

- NETWORK 8000 GCM, MICROZONE, PEM and MNL Controls

| Service Procedure | Function | Benefit | Recommended Frequency |
| --- | --- | --- | --- |
| Verify Controller Database and Modifications | Compare/verify each UNC device database matches agreed upon Owner "as built" prints and records. Identify all additions, modifications, and changes to software sequence, setpoints, schedules and limits. Provide assessment report to Owner of impact of all noted changes. Update "as built" records and database storage files with Owner approved changes. Correct to "as built" statuses all non-approved changes and download to device database as required. | Database verification ensures DDC system operates and performs as designed to meet goals for energy reduction and comfort performance. Eliminates "creeping decay" of operational performance caused by non-removal of "temporary" bypasses, etc. Provides Owner with recommended courses of action to improve performance over time. Ensures records are accurately maintained and documented. | Semi-Annually |
| Verify Operation of Remote Telecommunication Datalink to Remote Site | Initiate communications with DDC control network. Verify alarm dial-out capabilities to service contractor. | Provides continuous check of service response mechanism. Detects failure of third party datalink. | Weekly |
| Remote Service On-Site Service | Provide routine database backup service of all operating controller databases. In the event of catastrophic failure, download database to replacement device. Update device database to current operating standards. | Reduces downtime by having a current database available for replacement. Provides an off-site record archiving depot as protection against catastrophic failure, theft and malicious damage to databases. | Semi-Annually |
| Check Device Battery | Verify proper operation of battery backup. | Ensure historical data integrity is maintained for diagnostic purposes. | Annually |
| Visual Inspection | Ensure device is not physically damaged. Report all damaged components. | Ensure there are not impending failures that can adversely affect system operation and integrity. | Annually |

HVAC Full Labor Maintenance Program:

General Requirements: